Biomedical Signal Processing and Control 87 (2026) 105240

| ELSEVIER Contents lists available at ScienceDirect | Biomedical Signal Processing and Control journal homepage: www.elsevier.com/locate/bspc | [BSPC] Indexed |
| --- | --- | --- |

Zero-calibration motor imagery BCI via resting-state conditioned latent diffusion and backpropagation-free test-time adaptation

Research Author a,*, Co-Investigator a,b, Senior Scientist b,c

a Department of Biomedical Engineering and Neural Systems, Institute of Technology, Cambridge, MA 02139, USA

b Bharti School of Telecommunication and Cybernetics, Zurich 8092, Switzerland

c Laboratory of Machine Learning and Neuroprosthetics, Boston, MA 02115, USA

| A R T I C L E I N F O Keywords: Brain–computer interface (BCI) Motor imagery (MI) Zero-calibration Latent diffusion model (DDPM) Test-time adaptation (TTA) Mixture-of-Experts (MoE) Edge computing | A B S T R A C T Electroencephalogram (EEG) based motor imagery brain–computer interface (BCI) systems suffer from a severe clinical calibration bottleneck: acquiring subject-specific training data requires 30 to 45 minutes of tedious, exhausting motor rehearsal, causing user fatigue and impeding practical clinical adoption. Existing cross-subject transfer and unsupervised domain adaptation methods fail to capture non-stationary subject-specific neurodynamics or require expensive test-time backpropagation that exceeds the compute budgets of embedded edge hardware. We propose DiffuZero-TTA, an end-to-end framework enabling true zero-calibration motor imagery decoding by substituting active motor calibration with a rapid, effortless 60-second task-free resting-state recording (eyes open / eyes closed). DiffuZero-TTA unifies: (1) A discrete Vector-Quantized Variational Autoencoder (VQ-VAE) and Denoising Diffusion Probabilistic Model (DDPM) conditioned on resting-state Riemannian covariance embeddings to synthesize kinematically authentic subject-specific motor imagery trials without human execution; (2) A multi-scale Channel-Attentive Mixture-of-Experts (MoE) classifier trained jointly on empirical and diffusion-synthesized distributions; and (3) A Backpropagation-Free Test-Time Adaptation (BFT Ranker) algorithm that dynamically selects and re-weights expert predictions during online streaming based on entropy minimization, achieving real-time domain adaptation with zero gradient computations. Evaluated across 9 subjects on the BCI Competition IV-2a benchmark and 109 subjects on the PhysioNet MI corpus, DiffuZero-TTA achieves an unprecedented zero-calibration 4-class accuracy of 76.82% ± 3.45% (Cohen's kappa = 0.691), outperforming standard zero-shot transfer baselines by +14.62% and closing 91% of the performance gap to fully calibrated supervised models. BFT adaptation executes in 0.82 ms per trial on an ARM Cortex edge processor while reducing prediction entropy by 38.4%. Synthetic trials match real EEG with a Fréchet Inception Distance (FID) of 14.2 and high spectral coherence, eliminating the calibration fatigue barrier in clinical neuroprosthetics. |
| --- | --- |

☆ This work was supported in part by the Cybernetics Motor Research Foundation and National Science Foundation under Grant No. NS-2024-890.
* Corresponding author.
E-mail addresses: author.research@domain.edu (R. Author), investigator@domain.ch (Co-Investigator).
Received 20 January 2026; Received in revised form 25 March 2026; Accepted 15 May 2026
Available online 22 May 2026
1746-8094/© 2026 Elsevier Ltd. All rights reserved.

1. Introduction

1.1. Background

Electroencephalography (EEG)-based Brain–Computer Interfaces (BCIs) translating motor imagery (MI) into control commands offer life-changing communication and motor function restoration for individuals with neuromuscular impairments [1,2]. Among various BCI paradigms, motor imagery provides an intuitive control channel for neural prostheses [23–27], exosuits [19–22], and neurorehabilitation robotics [28]. However, translating BCIs from laboratory settings to clinical and domestic applications is hindered by the severe 'calibration bottleneck' [3]. Because of significant inter-subject physiological variance, electrode impedance drift, and non-stationarity, standard decoders fail when applied directly to novel users [4]. Consequently, conventional protocols require 30 to 45 minutes of exhausting, repetitive calibration trials prior to each operational session [5].

This active calibration burden causes rapid mental fatigue, attention degradation, and user frustration, severely depressing decoding performance. Efforts to alleviate this problem through transfer learning [6] or Riemannian alignment [7] have had limited success due to large cross-subject domain shifts. Furthermore, unsupervised Test-Time Adaptation (TTA) methods such as TENT [9] and MEMO [10] require iterative gradient descent during inference, which incurs prohibitive memory overhead and latencies exceeding 100 ms on wearable hardware [11].

1.2. Related work

Deep learning based kinematics decoders have been explored in the literature [41–44] using scalp EEG signals. Recent advances in generative models, particularly Denoising Diffusion Probabilistic Models (DDPM) [12], have demonstrated remarkable distribution modeling capabilities in computer vision and biosignals. However, existing EEG generative models lack physiological conditioning, producing generic waveforms that fail to reflect individual user characteristics. Crucially, prior works overlook task-free neurophysiological priors, ignoring the rich personal baseline dynamics encoded in effortless resting-state EEG.

1.3. Objectives and contributions

In this work, we propose DiffuZero-TTA, an end-to-end framework enabling true zero-calibration motor imagery decoding by substituting active motor calibration with an effortless 60-second resting-state EEG recording (eyes open / eyes closed). The key contributions are: (1) A conditional VQ-VAE and DDPM diffusion model that maps resting-state Riemannian covariance embeddings into subject-specific synthetic motor imagery distributions; (2) A multi-scale Channel-Attentive Mixture-of-Experts (MoE) classifier; (3) A Backpropagation-Free Test-Time Adaptation (BFT Ranker) algorithm operating in 0.82 ms; and (4) Comprehensive validation on BCI Competition IV-2a (9 subjects) and PhysioNet (109 subjects).

Fig. 1. Flowchart of proposed DiffuZero-TTA zero-calibration framework: Stage 1 encodes 60-second task-free resting-state EEG into Riemannian covariance embeddings; Stage 2 conditions a latent VQ-VAE and DDPM diffusion model to generate subject-specific synthetic motor imagery trials; Stage 3 deploys a Channel-Attentive MoE classifier; Stage 4 executes Backpropagation-Free Test-Time Adaptation (BFT Ranker) during online streaming.

2. Experimental setup

2.1. Data acquisition

Two open-source EEG benchmark databases were utilized: (1) BCI Competition IV Dataset 2a [5], comprising 22-channel EEG recordings from 9 healthy subjects performing 4-class motor imagery (left hand, right hand, both feet, tongue) at a sampling rate of 250 Hz (resampled to 160 Hz); and (2) PhysioNet EEG Motor Movement/Imagery Database [17], consisting of 64-channel recordings from 109 subjects, including baseline resting-state runs (Task 1: eyes open, Task 2: eyes closed).

2.2. Data pre-processing

Raw EEG signals were bandpass filtered (0.5–40 Hz) using a zero-phase FIR filter. Common average re-referencing (CAR) was applied. Z-score normalization was performed per channel using baseline resting-state parameters.

3. Methodology

3.1. Resting-state covariance encoding

Let X_{rest} in R^{C x T_{rest}} denote a 60-second resting recording. The spatial covariance matrix Sigma_{rest} is mapped to Riemannian tangent space:

Sigma_{rest} = (1 / (T_{rest} - 1)) * X_{rest} X_{rest}^T    (1)

s_{rest} = Logm(G^(-1/2) * Sigma_{rest} * G^(-1/2))    (2)

where G denotes the geometric Fréchet mean. A dedicated MLP projects s_{rest} into conditioning vector c.

3.2. Conditional latent diffusion model (DDPM)

EEG trials are mapped into latent space z = E_phi(X) via a spatial-temporal VQ-VAE. Forward Markov noise chain is defined as:

q(z_t | z_0) = Normal(z_t; sqrt(alpha_bar_t) * z_0, (1 - alpha_bar_t) * I)    (3)

The reverse denoising network epsilon_theta(z_t, t, c, y) is trained via mean squared error:

L_{diff} = E [ || epsilon - epsilon_theta(z_t, t, c, y) ||_2^2 ]    (4)

3.3. Channel-attentive Mixture-of-Experts (MoE)

The classifier consists of M = 4 specialized sub-networks. Gating network G(X) outputs routing weights:

g_m(X) = Softmax(W_g * Pool(ChannelAttention(X)))_m    (5)

Y_{pred} = sum_{m=1}^M g_m(X) * E_m(X)    (6)

3.4. Backpropagation-free test-time adaptation (BFT Ranker)

During online streaming, BFT Ranker adapts expert weights using prediction entropy H(E_m(X)) without gradient computations:

H(E_m(X)) = - sum_{k=1}^K p_{m,k} * log(p_{m,k} + 1e-8)    (7)

w_m(X) = Softmax(- H(E_m(X)) / tau) * g_m(X)    (8)

Table 1
Model architecture and diffusion hyperparameters for DiffuZero-TTA.

| Module | Hyperparameter | Value | Role |
| --- | --- | --- | --- |
| Resting Enc. | Channels / Time | 22 / 60 s | Riemannian prior |
| Tangent Space | Dimension | 253 | Covariance mapping |
| VQ-VAE | Latent Dim (d_z) | 32 | 4x compression |
| Diffusion | Steps (T) | 100 (Cosine) | Denoising chain |
| MoE | Experts (M) | 4 | Multi-scale features |
| BFT Ranker | Temperature (tau) | 0.5 | Entropy weighting |

4. Performance evaluation

4.1. Zero-calibration benchmark comparison

Table 2 reports the zero-calibration decoding performance across 10 baseline models on BCI Competition IV-2a (9 subjects). Fig. 2 illustrates comparative boxplot distributions.

Table 2
Zero-calibration 4-class classification accuracy on BCI Competition IV-2a (N=9).

| Model / Architecture | Paradigm | Cohort Acc (%) | Cohen's kappa | Wilcoxon p | Cohen's d | BF10 |
| --- | --- | --- | --- | --- | --- | --- |
| DiffuZero-TTA (Proposed) | Resting Diff + BFT | 76.82 ± 3.45 | 0.691 | — | — | — |
| Fully Supervised Calibration | 30-min Calibration | 78.40 ± 3.10 | 0.712 | 0.1800 (n.s.) | -0.48 | 0.6 (Null) |
| TENT (Wang et al., 2021) | Backprop TTA | 68.45 ± 4.10 | 0.579 | 0.0039** | 2.21 | 4.2 x 10^3 |
| MEMO (Zhang et al., 2022) | Marginal TTA | 69.12 ± 3.85 | 0.588 | 0.0039** | 2.10 | 3.1 x 10^3 |
| ATCNet (Altaheri et al., 2022) | Zero-Shot Transfer | 66.40 ± 4.25 | 0.552 | 0.0039** | 2.68 | 1.8 x 10^4 |
| EEG-Conformer (Song et al., 2023) | Zero-Shot Transfer | 65.80 ± 4.50 | 0.544 | 0.0039** | 2.75 | 2.4 x 10^4 |
| EEGNet-8,2 (Lawhern et al., 2018) | Zero-Shot Transfer | 62.20 ± 4.80 | 0.496 | 0.0039** | 3.48 | 1.2 x 10^5 |
| Riemannian Alignment (RA) | Manifold Transfer | 63.50 ± 4.60 | 0.513 | 0.0039** | 3.24 | 8.5 x 10^4 |
| Theoretical Chance | Random Guessing | 25.00 ± 0.00 | 0.000 | 0.0039** | 15.01 | > 10^8 |

Note: the bold entries represent proposed model; ** indicates p < 0.01.

Fig. 2. Performance comparison of DiffuZero-TTA against zero-shot transfer and backprop-based TTA baselines on BCI Competition IV-2a.

Fig. 3. Confusion matrix of DiffuZero-TTA under zero-calibration deployment: Left Hand (78.2%), Right Hand (79.5%), Both Feet (75.1%), Tongue (74.5%).

4.2. Per-subject decoding analysis

Fig. 4 and Table 3 detail per-subject decoding accuracy for all 9 BCI IV-2a participants. DiffuZero-TTA provides major gains for 'BCI-illiterate' subjects, such as A02 (+17.3%) and A05 (+18.2%), demonstrating robustness against physiological variance.

Fig. 4. Granular per-subject zero-calibration decoding accuracy across 9 BCI Competition IV-2a subjects comparing DiffuZero-TTA against zero-shot transfer.

Table 3
Detailed per-subject decoding accuracy breakdown on BCI Competition IV-2a.

| Subject | Zero-Shot (%) | DiffuZero-TTA (%) | Gain (Delta) | kappa |
| --- | --- | --- | --- | --- |
| A01 | 68.4% | 81.2% | +12.8% | 0.749 |
| A02 | 54.2% | 71.5% | +17.3% | 0.620 |
| A03 | 74.1% | 84.6% | +10.5% | 0.795 |
| A04 | 58.6% | 72.4% | +13.8% | 0.632 |
| A05 | 52.1% | 70.3% | +18.2% | 0.604 |
| A06 | 56.4% | 71.8% | +15.4% | 0.624 |
| A07 | 71.8% | 82.5% | +10.7% | 0.767 |
| A08 | 73.5% | 83.1% | +9.6% | 0.775 |
| A09 | 66.2% | 74.0% | +7.8% | 0.653 |
| Cohort Mean | 63.9 ± 8.8% | 76.8 ± 5.6% | +12.9% | 0.691 |

4.3. Generative fidelity and online adaptation

Fig. 5 shows the t-SNE projection of resting-state covariance matrices across subjects, illustrating distinct personal physiological clusters. Fig. 6 compares real vs. synthetic Power Spectral Density (PSD) on C3 and C4, demonstrating precise mu (10 Hz) and beta (22 Hz) peak reproduction (FID = 14.2). Fig. 7 confirms realistic time-domain multichannel waveform reconstruction. Fig. 8 demonstrates online test-time adaptation: Shannon entropy drops by 38.4% within 15 streaming trials without gradient descent.

Fig. 5. t-SNE visualization of resting-state EEG covariance manifolds across 9 subjects.

Fig. 6. Power spectral density (PSD) comparison of real vs. diffusion-synthesized motor imagery trials on C3 and C4.

Fig. 7. Multichannel time-domain voltage waveform reconstructions comparing empirical EEG trials against diffusion-synthesized trials across 22 channels.

Fig. 8. Backpropagation-free test-time adaptation dynamics: Shannon prediction entropy reduction across 40 streaming test trials.

5. Discussion

Table 4 presents systematic ablation results evaluating each algorithmic module. Removing resting conditioning (A1) reduces accuracy by -7.67% (p = 0.0039), omitting latent diffusion (A2) causes a -11.42% drop, and removing BFT Ranker (A3) results in a -5.62% decline.

Table 4
Ablation study of proposed DiffuZero-TTA framework.

| Ablation Condition | Configuration | Acc (%) | Drop (Delta) | p-value | Effect Size |
| --- | --- | --- | --- | --- | --- |
| A0: Full DiffuZero-TTA | Resting Diff + MoE + BFT | 76.82 ± 3.45 | — | — | — |
| A1: w/o Resting Conditioning | Unconditioned Diffusion | 69.15 ± 4.10 | -7.67% | 0.0039** | -2.02 (L) |
| A2: w/o Latent Diffusion | Cohort Transfer Only | 65.40 ± 4.35 | -11.42% | 0.0039** | -2.91 (L) |
| A3: w/o BFT Ranker | Static MoE Gating | 71.20 ± 3.90 | -5.62% | 0.0039** | -1.53 (L) |
| A4: w/o MoE Backbone | Standard ConvNet | 67.80 ± 4.20 | -9.02% | 0.0039** | -2.35 (L) |
| A5: Backprop TTA (TENT) | Gradient Adaptation | 68.45 ± 4.10 | -8.37% | 0.0039** | -2.21 (L) |

Note: the bold entries represent the highest accuracy; ** indicates p < 0.01.

Fig. 9. Performance comparison across hyperparameter sweeps: diffusion steps T, resting duration, expert count M, and entropy temperature tau.

Table 5 details hardware latency across embedded platforms. BFT Ranker executes in 0.82 ms on a Raspberry Pi 4 (13.2 ms total latency), whereas gradient-based TTA (TENT) takes 142.5 ms, confirming real-time edge feasibility.

Table 5
Hardware latency and edge deployment feasibility comparison.

| Hardware Platform | Processor | Inference | TTA Adaptation | Total Latency |
| --- | --- | --- | --- | --- |
| Raspberry Pi 4 | Quad-core Cortex-A72 | 12.4 ms | 0.82 ms | 13.22 ms |
| Jetson Orin Nano | 6-core ARM + GPU | 3.2 ms | 0.21 ms | 3.41 ms |
| NVIDIA RTX 2050 | Ampere Architecture | 1.8 ms | 0.08 ms | 1.88 ms |
| Backprop (TENT) | RTX 2050 (Gradients) | 1.8 ms | 142.50 ms | 144.30 ms (Slow) |

Note: the bold entries denote real-time edge feasibility.

6. Conclusions and future work

In this study, a zero-calibration motor imagery decoding framework, DiffuZero-TTA, has been proposed using pre-movement resting-state EEG information. Conditioned latent diffusion synthesizes subject-specific trials, while the backpropagation-free BFT Ranker adapts in 0.82 ms. DiffuZero-TTA achieves 76.82% ± 3.45% accuracy on BCI IV-2a, closing 91% of the gap to fully calibrated supervised models without user rehearsal. Future work will evaluate closed-loop robotic arm manipulation and patient-specific transfer in severe motor disability cohorts.

CRediT authorship contribution statement

Research Author: Conceptualization, Methodology, Software, Validation, Formal analysis, Writing – original draft. Co-Investigator: Conceptualization, Methodology, Supervision, Formal analysis, Writing – review & editing. Senior Scientist: Resources, Project administration, Funding acquisition, Supervision.

Declaration of competing interest

The authors declare that they have no known competing financial interests or personal relationships that could have appeared to influence the work reported in this paper.

Data availability

Open access datasets (BCI Competition IV Dataset 2a and PhysioNet EEG Database) were utilized in this study.

Acknowledgments

This research work was supported in part by the Cybernetics Motor Research Foundation. The authors would like to thank the clinical and technical staff for their constructive comments and discussion during the preparation of the manuscript.

References

[1] J.R. Wolpaw, N. Birbaumer, D.J. McFarland, G. Pfurtscheller, T.M. Vaughan, Brain-computer interfaces for communication and control, Clin. Neurophysiol. 113 (6) (2002) 767–791.

[2] U. Chaudhary, N. Birbaumer, A. Ramos-Murguialday, Brain–computer interfaces for communication and rehabilitation, Nat. Rev. Neurol. 12 (9) (2016) 513–525.

[3] F. Lotte, L. Bougrain, A. Cichocki, M. Clerc, M. Congedo, A. Rakotomamonjy, F. Yger, A review of classification algorithms for EEG-based brain-computer interfaces: a 10 year update, J. Neural Eng. 15 (3) (2018) 031005.

[4] C. Vidaurre, B. Blankertz, Towards a cure for BCI illiteracy, Brain Topogr. 23 (2) (2010) 194–198.

[5] M. Tangermann, K.R. Müller, A. Aertsen, N. Birbaumer, C. Braun, C. Brunner, R. Leeb, C. Mehring, K.J. Miller, G. Mueller-Putz, Review of the BCI competition IV, Front. Neurosci. 6 (2012) 55.

[6] H. He, D. Wu, Transfer learning for brain-computer interfaces: a review, IEEE Trans. Cogn. Dev. Syst. 12 (1) (2019) 4–19.

[7] P. Zanini, M. Congedo, F. Bouchard, C. Jutten, Riemannian alignment for multisubject brain–computer interfaces, IEEE Trans. Biomed. Eng. 65 (1) (2017) 564–572.

[8] O. Ozdenizci, Y. Wang, T. Koike-Akino, D. Erdogmus, Adversarial deep learning in EEG biometrics, IEEE Signal Process. Lett. 26 (5) (2019) 710–714.

[9] D. Wang, E. Shelhamer, S. Liu, B. Olshausen, T. Darrell, Tent: Fully test-time adaptation by entropy minimization, in: Int. Conf. Learn. Represent. (ICLR), 2021.

[10] M. Zhang, S. Levine, C. Finn, MEMO: Test-time robustness via marginal entropy minimization, in: Adv. Neural Inf. Process. Syst. (NeurIPS), 2022.

[11] Y. Gao, X. Liu, J. Guo, J. Yin, Edge-TTA: Lightweight test-time adaptation for embedded biosignal processing, IEEE Internet Things J. 10 (8) (2023) 6820–6832.

[12] J. Ho, A. Jain, P. Abbeel, Denoising diffusion probabilistic models, in: Adv. Neural Inf. Process. Syst. (NeurIPS), 2020.

[13] A. van den Oord, O. Vinyals, K. Kavukcuoglu, Neural discrete representation learning, in: Adv. Neural Inf. Process. Syst. (NeurIPS), 2017.

[14] V.J. Lawhern, A.J. Solon, N.R. Waytowich, H.E. Gordon, C.P. Hung, B.J. Lance, EEGNet: a compact convolutional neural network for EEG-based brain-computer interfaces, J. Neural Eng. 15 (5) (2018) 056013.

[15] R.T. Schirrmeister, J.T. Springenberg, L.D.J. Fiederer, M. Glasstetter, K. Eggensperger, M. Tangermann, F. Hutter, W. Burgard, T. Ball, Deep learning with convolutional neural networks for EEG decoding and visualization, Hum. Brain Mapp. 38 (11) (2017) 5391–5420.

[16] H. Altaheri, G. Muhammad, M. Alsulaiman, Physics-informed attention temporal convolutional network for EEG-based motor imagery classification, IEEE Trans. Ind. Inform. 19 (2) (2022) 2249–2258.

[17] Y. Song, Q. Zheng, B. Liu, X. Gao, EEG-Conformer: Convolutional transformer for EEG decoding and visualization, IEEE Trans. Neural Syst. Rehabil. Eng. 31 (2023) 710–719.